## Slide 1
From Scripts to Systems
Day 3, Data Architecture, Metadata and Performance
Where the data goes, how to keep it fast
Notes: OPENING (2 min) Welcome to Day 3. Final day. 'Yesterday you had a working app. Today we answer: where does the data go? And how do we keep it fast?'

## Slide 2
Day 3 Welcome
Yesterday: a working PySide6 application with MVC and worker threads
Today: where does the data go? How do we keep it fast?
By end of today: a complete instrument-control system with data logging and live plotting
Notes: RECAP + PREVIEW (3 min) Ask: 'What's the mantra?' Students should say: 'The controller does not care.' 'Today we apply that same principle to data output.' Preview: DataSink, writer thread, config, units, performance, live plotting.

## Slide 3
DataSink Abstraction
Decoupling data output from data production
Notes: SECTION TRANSITION (30 sec) 'Same idea as Adapter, but for output instead of input.' If students are confident with Adapter by now, this section will go quickly.

## Slide 4
The Controller Does Not Care About Data Formats
The controller produces readings
It does not know whether they are written to CSV, JSON, HDF5, or /dev/null
Same architectural idea as the Adapter pattern, but for output
Controller sends to DataSink interface, implementations fan out
Notes: CONCEPT (3 min) Draw the parallel: Adapter abstracts input (hardware). DataSink abstracts output (files). Ask: 'Where have we seen this pattern before?' (Adapter, Strategy, same idea, different context.) 'This is deliberate repetition. The same architectural idea solves the same structural problem everywhere.'

## Slide 5
The DataSink Interface
from abc import ABC, abstractmethod class DataSink(ABC): """The contract for all data outputs. Same idea as InstrumentAdapter, but for writing.""" @abstractmethod def open(self, metadata: dict) -> None: """Prepare the output (open file, write headers).""" ... @abstractmethod def write(self, reading: 'Reading') -> None: """Write a single reading.""" ... @abstractmethod def close(self) -> None: """Flush and close the output.""" ... # Three methods. That's the entire contract. # Adding a new format = adding one class.
Notes: CODE WALKTHROUGH (4 min) Walk through the ABC. Three methods: open, write, close. 'That\'s it. Adding a new output format means adding one class.' Ask: 'What does open() receive?' (Metadata dict.) 'What does write() receive?' (A Reading object.) Contrast with the messy approach: open + write header + write row + close all mixed into the acquisition loop.

## Slide 6
CsvSink vs JsonMetadataSink
CsvSink
JsonMetadataSink
class CsvSink(DataSink): def open(self, metadata): self._file = open(self._path, 'w') self._writer = csv.writer(self._file) self._writer.writerow( ['timestamp', 'channel', 'value', 'unit'] ) def write(self, reading): self._writer.writerow([ reading.timestamp.isoformat(), reading.channel, f"{reading.value:.4f}", str(reading.unit) ]) def close(self): self._file.close()
class JsonMetadataSink(DataSink): def open(self, metadata): self._path = self._generate_path() self._metadata = { 'experiment': metadata.get('name'), 'operator': metadata.get('operator'), 'instrument': metadata.get('instrument_id'), 'started': datetime.now().isoformat(), 'config': metadata.get('config', {}) } def write(self, reading): pass # metadata only, not per-reading def close(self): self._metadata['stopped'] = ( datetime.now().isoformat() ) with open(self._path, 'w') as f: json.dump(self._metadata, f, indent=2)
Same interface, completely different purpose. CsvSink writes data rows. JsonMetadataSink writes experiment context.
Notes: CODE WALKTHROUGH (5 min) Left: 'CsvSink opens a file, writes headers, appends rows. Simple and universally readable.' Right: 'JsonMetadataSink writes experiment context: who, what, when, which instrument, which config.' Key point: 'Every dataset should have a metadata file. Six months from now, you\'ll look at data_20260324.csv and ask: what was this?' Ask: 'What metadata do you wish your current data files had?'

## Slide 7
CompositeSink — Writing to Multiple Outputs
class CompositeSink(DataSink): """The tee pattern: write to multiple sinks simultaneously.""" def __init__(self, sinks: list[DataSink]): self.sinks = sinks def open(self, metadata): for sink in self.sinks: sink.open(metadata) def write(self, reading): for sink in self.sinks: sink.write(reading) def close(self): for sink in self.sinks: sink.close() # Usage: write to CSV AND JSON metadata simultaneously sink = CompositeSink([ CsvSink("data/readings.csv"), JsonMetadataSink("data/"), # Add Hdf5Sink here later — no other code changes ])
Notes: CODE WALKTHROUGH (4 min) Show CompositeSink: holds a list of sinks, delegates write() to all. Analogy: 'Like the Unix tee command.' Ask: 'What if one sink fails?' (CompositeSink should catch the exception and continue with others.) Bottom: 'Add Hdf5Sink later, no other code changes.' Same extensibility as Adapter.

## Slide 8
Lab 7 — Implement DataSinks
Review DataSink ABC, CsvSink, JsonMetadataSink, CompositeSink
Write a test script that creates a CompositeSink (CSV + JSON metadata)
Generate 20 readings using SimulatedInstrumentAdapter
Write each reading to the composite sink
Verify: CSV file has 20 rows, JSON file has metadata
Extension: add Hdf5Sink
Time: 30 minutes
Notes: LAB SETUP (2 min then 30 min lab) Key instruction: 'Create a CompositeSink with CSV + JSON metadata. Generate 20 readings. Verify both files.' Common issues: forgetting to call open() or close(), confused about metadata dict. Extension: implement Hdf5Sink using h5py.

## Slide 9
Writer Thread and Non-Blocking I/O
Decoupling acquisition speed from disk speed
Notes: SECTION TRANSITION (30 sec) 'What happens when file I/O is too slow for the acquisition rate?' Ask: 'Has anyone had a data acquisition system that missed readings because it was busy writing to disk?'

## Slide 10
The Problem — File I/O Blocks Acquisition
Writing to disk is slow (especially CSV with flush)
If the writer blocks the acquisition loop, you miss readings
Solution: decouple with a queue and a dedicated writer thread
Acquisition thread puts on queue, writer thread takes from queue and writes to disk
Notes: CONCEPT (3 min) Explain the problem: acquisition waits for disk write, misses readings. Draw the timeline: [read][write....][read][write....] with gaps. Solution: decouple with a queue. Next slide shows the code.

## Slide 11
Coupled vs Decoupled I/O
Coupled: acquisition waits for disk
Decoupled: queue absorbs bursts
def acquisition_loop(self): while self.running: reading = self.adapter.read_value('temp') # BLOCKS: disk write stalls acquisition self.csv_file.write(reading.to_csv()) self.csv_file.flush() # If disk is slow, we MISS the next reading time.sleep(self.interval)
def acquisition_loop(self): while self.running: reading = self.adapter.read_value('temp') self.queue.put(reading) # instant, non-blocking time.sleep(self.interval) def writer_loop(self): while True: reading = self.queue.get() # blocks until data if reading is None: # sentinel: stop break self.sink.write(reading) # disk I/O here
The queue decouples speed: acquisition runs at instrument rate, writer runs at disk rate.
Notes: CODE WALKTHROUGH (5 min) Left: 'Acquisition writes to disk in the loop. If disk is slow, we miss readings.' Right: 'queue.put(reading) is instant. Writer runs independently at its own pace.' Bottom note: 'The queue absorbs bursts. If disk is temporarily slow, readings buffer in the queue.' Ask: 'What\'s the advantage of a queue over direct writing?' (Acquisition never waits for disk.)

## Slide 12
Queue-Based Architecture
import queue import threading class WriterThread(threading.Thread): """Consumes readings from queue, writes to data sinks.""" def __init__(self, data_queue: queue.Queue, sink: DataSink): super().__init__(daemon=True) self.queue = data_queue self.sink = sink def run(self): while True: reading = self.queue.get() if reading is None: # sentinel value break self.sink.write(reading) self.sink.close() # clean shutdown # Setup data_queue = queue.Queue() writer = WriterThread(data_queue, composite_sink) writer.start() # Acquisition puts readings on queue (fast) data_queue.put(reading) # Shutdown: send sentinel, wait for writer to finish data_queue.put(None) writer.join()
Notes: CODE WALKTHROUGH (5 min) Walk through WriterThread. Key points: 'queue.get() blocks until data arrives, so the writer sleeps when idle.' 'None is the sentinel: put None on queue to signal shutdown.' 'writer.join() waits for the writer to finish, so no data is lost.' Common misconception: 'I need a lock.' No, queue.Queue handles locking internally.

## Slide 13
Lab 8 — Writer Thread
Add a queue.Queue between acquisition worker and data sinks
Create a WriterThread that consumes the queue
Read 50 values, put on queue, verify CSV output
Sentinel (None) for clean shutdown
Time: 20 minutes
Notes: LAB SETUP (2 min then 20 min lab) Shorter lab, the concept is simple after Lab 5. Key instruction: 'Use None as a sentinel for shutdown.' Common issues: forgetting the sentinel, not joining the writer thread. Timing: 15-20 minutes. Reinforcement of the threading pattern from Day 2.

## Slide 14
Units, Metadata and Configuration
Making data self-describing and experiments reproducible
Notes: SECTION TRANSITION (30 sec) 'Three topics that separately seem small, but together make the difference between a script and a professional tool.' These three topics can be brisk, 15-20 minutes total.

## Slide 15
Units with Pint
from pint import UnitRegistry ureg = UnitRegistry() # Attach units to values — no more "is this Celsius or Fahrenheit?" temp = 23.5 * ureg.degC print(temp) # 23.5 degC print(temp.to(ureg.degF)) # 74.3 degF print(temp.to(ureg.kelvin)) # 296.65 kelvin # Where units belong in the architecture: # Adapter: attaches units to raw values # Model: stores unit-aware values # Sink: writes units to file # View: formats for display # In the adapter: def read_value(self, channel) -> Reading: raw = self._parse_response(self._serial.readline()) return Reading( value=raw * ureg.degC, # unit attached here channel=channel, timestamp=datetime.now() )
Notes: CODE WALKTHROUGH (4 min) Live demo in REPL alongside the slide. 'Attach units to values. No more guessing whether it\'s Celsius or Fahrenheit.' Ask: 'Where should unit conversion happen?' (At the boundary. Adapter attaches. Sink writes. View formats.) Common misconception: 'I\'ll just use floats and remember.' Counter: 'Mars Climate Orbiter.' Keep practical: Pint is optional in labs but valuable in production.

## Slide 16
Metadata for Reproducibility
Every data file should be traceable to:
who ran the experiment
what instrument was used
when it started and stopped
what configuration was active
what software version was running
If you can't reproduce the experiment from the metadata, the data is an orphan
Notes: CONCEPT (3 min) Ask: 'Have you ever found a data file and couldn\'t figure out what instrument produced it?' Key point: 'If you can\'t reproduce the experiment from the metadata, the data is an orphan.' This is professional discipline, especially important in regulated environments.

## Slide 17
Configuration Files — YAML
default_config.yaml
Loading in Python
device: type: simulated # or "serial" port: COM3 # ignored if simulated baud_rate: 9600 acquisition: interval_ms: 100 channels: - temperature - voltage output: directory: ./data formats: - csv - json_metadata experiment: name: "thermal_test_001" operator: "J. Smith"
import yaml def load_config(path: str) -> dict: with open(path) as f: return yaml.safe_load(f) config = load_config("configs/default.yaml") # Config drives behaviour, no code changes adapter = create_adapter(config) sink = create_sinks(config) interval = config['acquisition']['interval_ms'] # Change the instrument? Edit YAML. # Change the sample rate? Edit YAML. # Change the output format? Edit YAML. # The code doesn't change.
Notes: CODE WALKTHROUGH (5 min) Left column: walk through the YAML structure. Point out each configurable parameter. Right column: show how Python loads and uses it. Demo: change device.type from simulated to serial. 'No code changes.' Key point: 'Configuration turns code changes into settings changes. Safer, faster, auditable.'

## Slide 18
Lab 9 — Configuration and Metadata
Load default_config.yaml using config_loader
Create adapter and sink using factory functions
Connect, read 5 values, print them
Experiment: change device.type in YAML, observe the effect
Time: 20 minutes
Notes: LAB SETUP (2 min then 20 min lab) The real learning is experimentation: 'Change device.type in YAML. Re-run. What changed?' Common issue: students who edit Python code instead of YAML. Redirect: 'The whole point is that you DON\'T edit code.' Quick lab, mostly experimentation.

## Slide 19
Performance Engineering
Finding and fixing the bottlenecks that matter
Notes: SECTION TRANSITION (30 sec) Ask: 'Who\'s had a GUI that froze, stuttered, or couldn\'t keep up with data?' 'We\'re going to diagnose the six most common problems and fix them.'

## Slide 20
The Six Most Common Performance Problems
1. Event loop blocking: serial.read() on main thread
2. Too many GUI updates: updating a label at 1000 Hz
3. Wrong-thread updates: writing to QLabel from worker thread
4. Slow file I/O in the acquisition loop
5. Slow parsing: regex in hot loops, string formatting per reading
6. No buffering: one-byte serial reads, one-row CSV writes
Notes: CONCEPT (4 min) Walk through each. Ask: 'Have we already solved this one?' 1. Event loop blocking: Solved, worker thread. 2. Too many GUI updates: Not yet. 3. Wrong-thread updates: Solved, signals. 4. Slow file I/O: Solved, writer thread. 5. Slow parsing: Not yet. 6. No buffering: Not yet. Key insight: 'Three of six are already solved by our architecture. Good architecture IS performance engineering.'

## Slide 21
Diagnosis and Fixes
# DIAGNOSIS: timing suspected hot spots import time t0 = time.perf_counter() reading = adapter.read_value('temperature') t1 = time.perf_counter() print(f"Read took {(t1-t0)*1000:.1f} ms") # DIAGNOSIS: queue health print(f"Queue depth: {data_queue.qsize()}") # If this number grows, the writer can't keep up # ALREADY SOLVED by our architecture: # [+] Event loop blocking -> worker thread # [+] Wrong-thread updates -> signals # [+] Slow file I/O -> writer thread + queue # REMAINING FIXES: # [ ] Too many GUI updates -> throttled QTimer # [ ] Slow parsing -> pure functions, avoid regex # [ ] No buffering -> batch writes, binary protocols
Notes: CODE WALKTHROUGH (4 min) Show diagnostic techniques: time.perf_counter(), queue.qsize(). Walk through the checklist: three already solved, three remaining. 'We\'ll focus on GUI throttling, it\'s the most impactful fix.'

## Slide 22
GUI Update Throttling
# BAD: update view on every signal from the worker # At 100 Hz, this means 100 label.setText() calls per second def on_reading(self, reading): self.label.setText(reading.format()) # called 100x/sec! self.plot.add_point(reading.value) # 100 redraws/sec! # GOOD: throttle with QTimer at 30 Hz (smooth, efficient) def __init__(self): self._latest_reading = None self.display_timer = QTimer() self.display_timer.setInterval(33) # ~30 Hz self.display_timer.timeout.connect(self._refresh_display) self.display_timer.start() def on_reading(self, reading): self._latest_reading = reading # just store it (fast) def _refresh_display(self): if self._latest_reading: self.label.setText(self._latest_reading.format()) self.plot.update() # one redraw at 30 Hz
One change: 100 redraws/sec drops to 30. GUI goes from jerky to silky smooth.
Notes: CODE WALKTHROUGH (5 min) This is one of the most impactful performance fixes in the course. Top: 'BAD: update view on every signal. 100 setText() calls per second.' Bottom: 'GOOD: QTimer at 30 Hz. Store latest reading. Refresh at display rate.' Ask: 'Why 30 Hz?' (Human perception. Can\'t see updates faster than ~25 Hz. 30 Hz is smooth. 1000 Hz is wasteful.) Bottom note: 'One change: 100 redraws/sec drops to 30. Jerky becomes silky smooth.'

## Slide 23
Real-Time Plotting with PyQtGraph
Fast, Qt-native, designed for live data
Notes: SECTION TRANSITION (30 sec) Ask: 'Who\'s tried real-time plotting with Matplotlib?' (Groans.) 'There\'s a better way.'

## Slide 24
Why PyQtGraph, Not Matplotlib
Matplotlib: excellent for static plots, too slow for real-time updates
PyQtGraph: designed for real-time, Qt-native, 60+ FPS updates
Embeds directly in PySide6 layouts, just add to a QVBoxLayout
If your plot flickers or lags, you're using the wrong library
Notes: CONCEPT (3 min) 'Matplotlib: excellent for static plots. Too slow for real-time.' 'PyQtGraph: designed for real-time, Qt-native, 60+ FPS.' Demo: show the LabMonitor app with the plot running. Smooth scrolling, no flicker.

## Slide 25
Efficient Real-Time Plotting
import numpy as np import pyqtgraph as pg class LivePlotWidget(pg.GraphicsLayoutWidget): """Dual-channel real-time plot with ring buffer.""" def __init__(self, buffer_size=500): super().__init__() self.buffer_size = buffer_size self.buffers = { 'temperature': np.full(buffer_size, np.nan), 'voltage': np.full(buffer_size, np.nan), } self.index = 0 # Two plots, linked X axes self.temp_plot = self.addPlot(row=0, col=0, title="Temperature") self.volt_plot = self.addPlot(row=1, col=0, title="Voltage (V)") self.volt_plot.setXLink(self.temp_plot) self.temp_curve = self.temp_plot.plot(pen='#4FC3F7') self.volt_curve = self.volt_plot.plot(pen='#FFB74D') def add_value(self, value, channel): buf = self.buffers[channel] buf[self.index % self.buffer_size] = value self.index += 1 def refresh(self): """Call at 30 Hz from QTimer, NOT per-reading.""" for channel, curve in [('temperature', self.temp_curve), ('voltage', self.volt_curve)]: curve.setData(self.buffers[channel])
Notes: CODE WALKTHROUGH (5 min) Walk through the LivePlotWidget class. Three key techniques: ring buffer (fixed-size numpy array), update at display rate (30 Hz), setData() replaces all data. Ask: 'Why two separate plots instead of one with two Y axes?' (Different scales. Temperature in C and voltage in V don\'t share a meaningful Y axis.) This is the code students will use in Lab 10.

## Slide 26
Lab 10 — Real-Time Plot
Add a dual-channel PyQtGraph plot to a PySide6 window
Use SimulatedInstrumentAdapter to generate temperature and voltage data
Ring buffer (numpy array, 500 points per channel)
QTimer at 30 Hz reads from adapter and updates both traces
Start/Stop buttons, smooth scrolling traces
Time: 30 minutes
Notes: LAB SETUP (2 min then 30 min lab) This is the most rewarding lab. Students see a live scrolling chart. Common issues: QTimer not started, ring buffer not wrapping, only one channel showing. Extension: add a 'Performance mode' that reduces update rate.

## Slide 27
Capstone Integration
Putting every piece together
Notes: SECTION TRANSITION (30 sec) 'Let\'s step back and see what we\'ve built.' This is the synthesis moment.

## Slide 28
Everything Connected
Your LabMonitor application now has:
MVC architecture with clean separation
Simulated and real adapters (interchangeable)
Measurement strategies (swappable)
Background acquisition worker (QThread)
Data queue plus writer thread (non-blocking I/O)
CSV and JSON metadata sinks (extensible)
Configuration-driven behaviour (YAML)
Real-time PyQtGraph plotting
Notes: SYNTHESIS (5 min) Show the full LabMonitor application running with all components. Walk through the list: each feature maps to a pattern they built themselves. 'You didn\'t just learn patterns in theory. You built a working application that uses all of them.'

## Slide 29
Cross-Course Themes — Adding Features
# NEW MEASUREMENT MODE? Add a Strategy class. class BurstReadStrategy(MeasurementStrategy): def execute(self, adapter) -> list[Reading]: ... # Files changed: 1. Everything else: untouched. # NEW DEVICE? Add an Adapter class. class ModbusAdapter(InstrumentAdapter): def connect(self): ... def read_value(self, channel): ... # Files changed: 1. Everything else: untouched. # NEW DATA FORMAT? Add a DataSink class. class Hdf5Sink(DataSink): def open(self, metadata): ... def write(self, reading): ... # Files changed: 1. Everything else: untouched. # NEW CONFIG OPTION? Edit YAML. # Files changed: 0 (code). 1 (config).
Notes: SYNTHESIS (5 min) Walk through each extension. Ask: 'How many files change to add a new measurement mode?' (One.) 'A new device?' (One.) 'A new config option?' (Zero code, one config.) 'Every change is local. Nothing ripples. This is the architectural payoff of three days of work.'

## Slide 30
What Comes Next
Testing: start with smoke tests, grow from there
Packaging: PyInstaller for distributable applications
Version control: Git for team collaboration
CI/CD: automated testing on commit
Documentation: docstrings where they matter, not everywhere
Notes: FORWARD-LOOKING (3 min) Briefly touch each topic. Don\'t go deep. Testing: start with smoke tests. Packaging: PyInstaller. Version control: Git. CI/CD: automated testing. Documentation: docstrings where they matter.

## Slide 31
Course Complete
Day 1: Script to Objects to Adapter to Strategy
Day 2: SOLID to MVC to Error Handling to QThread to Working Application
Day 3: DataSink to Writer Thread to Config to Performance to Live Plotting
Key mantra: the controller does not care
Add new things by adding classes, not by editing existing code
Architecture makes the swap possible, configuration makes it easy
Notes: CLOSING (5 min) Read the 3-day summary. Let it sink in. Say the mantra one last time: 'The controller does not care.' Ask: 'What\'s the one thing you\'ll do differently on Monday?' Key message: 'Start with one pattern, probably Adapter. Separate your hardware from your logic. Everything else follows.'

## Slide 32
From Scripts to Systems
Feedback and questions welcome
Notes: CLOSING (1 min) Thank students. Remind them: the full project code is theirs to keep. Hand out feedback forms. Pack up.